%N calflag

%D Display raw calibration data with user interaction

%: calibration

%P pjt

%B

CALFLAG is a MIRIAD task which displays the raw calibration data and

optionally a fit. CALFLAG reads the data and fit from a ``gcal'' file

and displays the result graphically.  The phases and amplitudes for both

sidebands and all baselines are simultaneously shown, but individual

plots or groups of plots can be zoomed.  The fit is displayed as a

line over the points, and all the axes are labeled, with ticks.  The

user may interactively pick different plots to zoom on, and can mark

individual points as good or bad. Breakpoints in time can be added

and deleted as well. To make new polynomial fits, the program CALFIT

has to be rerun, possibly by using ``DELHD IN=file/PDATA'' to remove

a bad polynomial fit.

Commands in cursor mode are:

d/D -- flag the nearest point as bad (uppercase only one band)

a/A -- flag the nearest point as good (uppercase only one band)

x   -- zoom/unzoom toggle on the current column

y   -- zoom/unzoom toggle on the current row

z   -- zoom/unzoom toggle on the current plot

b/B -- insert breakpoint (uppercase only one band)

c/C -- delete breakpoint (uppercase only one band)

+/- -- moving around in zoom mode

q   -- quit (no save)

e   -- exit (save flags and breakpoints if modifications done)

?   -- this help and redraw screen

%A gcal

Input calibration dataset produced by calmake. No default.

%A source

Source names to be selected. Default is all sources selected.

%A flags

Use flags for scaling? If set to false, all points are selected

for viewing, including the ones previously flagged bad.

Default: true

%A close

Use closure? If set to true, closure will be applied to the phases,

Also note that in closure mode breakpoints must be at the same time

accross baselines. Default: false.

Note: *** this mode is under development ***

%A taver

Taver consists of two numbers, TGAP and TTOT, both in minutes;

they are used for vector averaging. If the time interval between

any two successive data points is greater than TGAP, or if the total

time between the first data point in a vector average and any

succeeding data point exceeds TTOT, then a new vector average is

started. The time-(X)-axis on top of your plot should be labeled

in (UT) hours-minutes and seconds. The bottom is labelled in fractional

days, offset from the date in the plot-header.

Default: 0.0,1000.0 (no vector averaging)

%A device

This keyword is used to specify the plotting device. It uses

the normal PGPLOT format of

file/type

or

device/type

Usually there exists a default file name or device name.

The part after the slash gives the plotter type. Examples of the

type are:

xs    X-windows output. This window is resizeable and

persistent. Prepending a number allows you to use multiple

windows, e.g. 1/xs, 2/xs etc.

xd    X-windows output. A transient window that disappears

when your task exists.

ps    Postscript (landscape mode).

vps   Postscript (portrait mode).

cps   Color postscript (landscape mode).

gif   gif files. Only supported with g77, not gfortran.

vcps  Color postscript (portrait mode).

tek   Tektronix 4010 or equivalent.

xterm Xterm window (better for simple plots over slow X links).

A `?' as device name generates a complete list of the recognized

types (which will most likely vary from system to system).

Files created for hardcopy devices must be spooled to the printer

separately. The command needed for this is site and device specific.

No default.

%A reset

Reset all flags to true or false, or leave them alone.

If set to 't' or 'f' all flags in the file are set as such. When

a flag is set to false, it means it is marked as bad.

If flags are reset, there is no further interaction possible, and the

programs quits after the flags have been altered. This is a quick and

dirty way to reset all flags in the calibration dataset.

Default: not used.

%A clip

If used it is the clip value above which the gains (Jy/K) are flagged

bad. Default: not used.

Note: you can only use clip= in Jy/K units. See next keyword.

%A units

Units to work in. Options are: K, K/Jy, Jy/K.

Note: since CALAPPLY assumes Jy/K any other units are nice to

look at, but produce badly calibrated files.

Default: Jy/K.

%A ampmax

If supplied, the amplitude scale is fixed from 0 to ampmax,

otherwise autoscaling is done. Default is autoscaling.

%A phminmax

If supplied, the phases are plotted from phmin to phmax.  Note

that the units are degrees, though the plot is given in radians.

Default is independent autoscaling in lower and upper sideband.