%N uvspec

%D Plot averaged spectra of a visibility dataset.

%P rjs

%: uv analysis

%B

UVSPEC plots averaged spectra of a visibility dataset. Averaging can

be in both time and frequency

%A vis

The name of the input uv data sets. Several can be given (wild

cards are supported). No default.

%A select

The normal uv selection commands. The default is plot everything.

%A line

The normal uv linetype in the form:

line,nchan,start,width,step

The default is all channels (or all wide channels if there are no

spectral channels).

%A stokes

The Stokes/polarization types to be plotted. The default is to

plot those polarizations present in the input files.

%A interval

Time averaging interval, in minutes. The default is 0 (i.e. no

averaging).

%A hann

Hanning smoothing width (an odd integer).  Smoothing is

applied after averaging. Default is 1 (no Hanning smoothing).

%A offset

An offset (in arcsec) to shift the data. Positive values result in

the data center being shifted to the North and East. Two values

should be given, being the shift in the RA and DEC directions.

The default is 0,0 (i.e. no shift).

%A options

This gives extra processing options. Several options can be given,

each separated by commas. They may be abbreviated to the minimum

needed to avoid ambiguity. Possible options are:

'nocal'       Do not apply the gains file. By default, UVSPEC

applies the gains file in copying the data.

'nopass'      Do not apply bandpass corrections. By default,

UVSPEC corrects for the bandpass shape if the

required information is available.

'nopol'       Do not apply polarizatiopn corrections. By default

UVSPEC corrects for polarization corss-talk.

'ampscalar'   When plotting amplitude, this causes it to perform

scalar averaging. By default it does vector averaging.

'rms'         When plotting amplitude, this causes it to plot

the rms amplitude. by default it does vector averaging.

'nobase'      Plot all the baselines on one plot.

'avall'       Average all the baselines together before plotting.

'dots'        Plot phases with dots instead of filled circles.

'flagged'     Plot flagged data instead of unflagged data. The

default is to plot only unflagged data.

'all'         Plot both flagged and unflagged data.

%A axis

This gives two strings, which determine the X and Y axes of each plot.

The values can be abbreviated to uniqueness.

Possible values for the X axis are:

channel       X-axis is channel number.

frequency     X-axis is the sky frequency, in GHz.

dfrequency    X-axis is the Doppler-corrected frequency, in GHz.

velocity      X-axis is velocity in radio convention, in km/sec.

felocity      X-axis is velocity in optical convention, in km/sec.

lag           X-axis is lag number.

Possible values for the Y axis are:

amplitude     Plot amplitude.

phase         Plot phase.

real          Plot real part of the data.

imaginary     Plot imaginary part of the data.

The default is axis=channel,amplitude.

%A yrange

The min and max range along the y axis of the plots. The default

is to autoscale.

%A device

PGPLOT plot device/type. No default.

%A nxy

Number of plots in the x and y directions. The default is

determined from the number of antennae in the data-sets.

%A log

Log file into which the spectra are dumped in the order in which

they are plotted.  Really only useful if your plot is quite simple.