%N calflux

%D Print or plot flux data for a calibrator source.

%P pjt

%: calibration, flux

%B

CALFLUX returns the flux (in Jy) of a calibrator source at a

given frequency (in GHz).  The source resides in a calibration

file that is formatted such that each record is composed of

white space separated fields ordered Source, Day (yymmmdd.d),

Freq (GHz), Flux (Jy), and rms (Jy).  Lines beginning with

a "!" are excluded.  Warnings are returned if there is no match

of the source in the calibrator file, if there is no matching

entry at the desired frequency, or the observation date is

greater than 4 years.  The Day field, presently, is formatted

as yymmmdd.d where yy is the year field 19yy, mmm is the three

character string of the month, and dd.d is the decimal value

of days.  None of the inputs are required, but they provide a

means of bracketing the desired source(s).

See also MIRSUBS/tabflux.for for implementation details.

%A in

Name of the calibration data file (Default is the file

FluxSource.cat in the directory MIRCAT).

Note: not all calibrators are point sources, see

ExtendedSource.cat for some data and comments regarding this.

%A source

Name of the calibration source to list (default is all sources).

The source name is minimum match format.

%A freq

Frequency that the source was observed at in GHz (default is

0.0, which implies all frequencies are valid matches).

%A delfreq

A full width in GHz (default is 5.0) in which to accept

deviations from the value of ``freq'' as a match.  If ``freq''

is not given or is set to the default value, this input

is ignored.

%A date

The cutoff date before or after which no observations are

listed (default is date=1.0, which implies all dates are valid

matches).  If ``date=0'', then only the most recent data is

listed.  If ``date>0,'' then all data more recent than ``date''

are listed; ``date<0,'' then all data prior to ``abs(date)''

are presented.  The format for ``date'' is the same as the DATE

field in the flux calibration file:  either ``yymmmdd.d'' or

``yymmmdd:hh:mm:ss.s'' with no internal spaces (the first 7

characters are required).

%A deldate

A full width in Julian days (default is 0.0) in which to accept

deviations from the value of ``date'' as a match.  If ``date''

is not given or it is set to the default value, then this input

is ignored.

%A flux

The lower limit flux value to consider as a match (default is

all matching fluxes).

%A device

PGPLOT device to plot flux versus time. Default is no plot.

%A xrange

Plot range in the x-direction. 2 values in format year.fraction

Default is to self scale.

%A yrange

Plot range in the y-direction. 2 values.

Default is to self scale.